## Sheet1
1. Input Data |  | 3. Example Thermo Scientifictm Solutions*
Application Water Flow Requirement1 (gpm) | 4 | Model |  | Fisher Catalog No. | Price | Payback Period
Utility Costs: |  |  | Fisher Scientific™ Isotemp™ Cooling/Heating Circulator 500w | 13-874-648 | 3700.87
Water Cost per 1000 gallons | 7.014 |  |  |  |  | 0.52047
Sewerage Cost per 1000 gallons | 8.77 |  |  |  |  | YEARS
Electrical Cost Per kW/h | 0.09006
Run Time: |  |  | Fisher Scientific™ Isotemp™ II Recirculating Chiller | 13-874-242 | 3908.78
Hours/Day | 8 |  |  |  |  | 0.5583
Days/week | 5 |  |  |  |  | YEARS
Weeks/year | 50
|  |  | Thermo Scientific ThermoFlextm 2500 Recirculating Chiller | 13-266-502 | 6115.47
2. Review Output | [5 empty] | 0.87116
Annual Equipment Run Time (hours) | 2000 |  |  |  |  | YEARS
Water Conserved By Using a Chiller (gallons) | 480000
*In addition to flow rate the setpoint temperature, heatload and pressure loss need to be considered when selecting a chiller. If you would like assistance selecting a chiller please consult with a Fisher Scientific Sales Representative.
Potential Annual Water Cost Savings | 7576.32
1For multiple applications on one chiller total all flow rates together.
Click here for more information
Click here for more information
Click here for more information